## Summary
KGICL product catalogue: consolidated data (updated CCTV list)
Built from the client's product sheets (updated 26 Oct 2026). One row per product in the "Products" tab. Red = needs the client, amber = needs checking, green = confirmed.
Pillar / group | Products
Solar Lighting: Street Lights | 17
CCTV & Security: Cameras | 2
CCTV & Security: Camera + Lighting | 4
CCTV & Security: Recorders & Accessories | 1
Electrical Supplies: Cables & Wiring | 3
Electrical Supplies: Switches, Sockets & Conduit | 4
Electrical Supplies: Distribution & Protection | 4
Electrical Supplies: Power Backup & Protection | 2
Electrical Supplies: Lighting & Fans | 2
Industrial Supply: PPE & Safety | 12
Industrial Supply: Earthing & Lightning Protection | 12
Total products | 63
Check | Count
Photo missing | 0
Photo link present, real or stock still to confirm | 57
Photo confirmed real | 6
Name cut off in the source (needs the client) | 11
Details possibly cut off (rough automatic check) | 24
Safety claims unverified (earthing and PPE) | 22
Voltage rating verified by client (standards still unverified) | 2
Claims to verify with the supplier (CCTV) | 3
Featured on the homepage | 6
Excluded items are listed in the Excluded tab (demo row, three CCTV items the client does not have yet, two replaced CCTV items).
Stock columns in the client sheets were ignored (not requested). Prices are not part of the data.

## Products
ID | Pillar | Group | Proposed name (draft) | Name status | Slug (draft) | Slug status | Model code | Name as received | Details as received | Details status | Standard / material (as received) | Size table likely | Photo status | Cloudinary public ID | Photo URL (as received) | Featured (order) | Claims status | Source | Notes
P-001 | Solar Lighting | Street Lights | 100W Solar Street Light, 10-Eye | Complete | 100w-solar-street-light-10-eye | Final | KG-SL-100W | 100W 10-eye | Type: 10-Eye ¦ Battery: 3.2V 320WH ¦ Backup: >12-20Hrs ¦ Pole: 6-8M ¦ Lumens: 10000lm ¦ Best for: Estates, Streets | Complete |  | No | Link present: real or stock to confirm | 2-100W_10-eye | https://res.cloudinary.com/x5utb1ld/image/upload/v1792757079/2-100W_10-eye.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 2
P-002 | Solar Lighting | Street Lights | 100W Solar Street Light, 10-Eye D-Series | Complete | 100w-solar-street-light-10-eye-d-series | Final | KG-SL-100W-D | 100W 10-eye D SERIES | Type: 10-Eye D ¦ Battery: 3.2V 320WH ¦ Backup: >12-20Hrs ¦ Pole: 6-8M ¦ Lumens: 10300lm ¦ Best for: Premium Estates | Complete |  | No | Link present: real or stock to confirm | 3-100W_10-eye_D_SERIES | https://res.cloudinary.com/x5utb1ld/image/upload/v1792757282/3-100W_10-eye_D_SERIES.jpg |  | n/a | Solar_Product_List_18_Items_1.docx, row 3
P-003 | Solar Lighting | Street Lights | 100W Solar Street Light, 4-Bar | Complete | 100w-solar-street-light-4-bar | Final | KG-SL-100W-4BAR | 100W 4-BAR | Type: 4-BAR ¦ Battery: 3.2V 320WH ¦ Backup: >12-20Hrs ¦ Pole: 6-8M ¦ Lumens: 10000lm ¦ Best for: Estates | Complete |  | No | Link present: real or stock to confirm | 4-100W_4-BAR | https://res.cloudinary.com/x5utb1ld/image/upload/v1792757411/4-100W_4-BAR.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 4
P-004 | Solar Lighting | Street Lights | 120W Solar Street Light, 12-Eye | Complete | 120w-solar-street-light-12-eye | Final | KG-SL-120W | 120W 12-eye | Type: 12-Eye ¦ Battery: 3.2V 360WH ¦ Backup: >12-20Hrs ¦ Pole: 6-8M ¦ Lumens: 12000lm ¦ Best for: Main Roads | Complete |  | No | Real (confirmed by client) | 5-120W_12-eye | https://res.cloudinary.com/x5utb1ld/image/upload/v1792847832/5-120W_12-eye.webp | 1 | n/a | Solar_Product_List_18_Items_1.docx, row 5
P-005 | Solar Lighting | Street Lights | 120W Solar Street Light, 12-Eye D-Series | Complete | 120w-solar-street-light-12-eye-d-series | Final | KG-SL-120W-D | 120W 12-eye D SERIES | Type: 12-Eye D ¦ Battery: 3.2V 360WH ¦ Backup: >12-20Hrs ¦ Pole: 8-9M ¦ Lumens: 12500lm ¦ Best for: Premium Main Roads | Complete |  | No | Link present: real or stock to confirm | 6-120W_12-eye_D_SERIES | https://res.cloudinary.com/x5utb1ld/image/upload/v1792757701/6-120W_12-eye_D_SERIES.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 6
P-006 | Solar Lighting | Street Lights | 120W Solar Street Light, 4-Eye Square White | Complete | 120w-solar-street-light-4-eye-square-white | Final | KG-SL-120W-4EYE | 120W 4-Eye Square White | Type: Square White ¦ Battery: 3.2V 360WH ¦ Backup: 12-15Hrs ¦ Pole: 6-8M ¦ Lumens: 12000lm ¦ Best for: Modern, Wall Mount | Complete |  | No | Link present: real or stock to confirm | 7-120W_4-Eye_Square_White | https://res.cloudinary.com/x5utb1ld/image/upload/v1792757822/7-120W_4-Eye_Square_White.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 7
P-007 | Solar Lighting | Street Lights | 120W Solar Street Light, 5-Bar | Complete | 120w-solar-street-light-5-bar | Final | KG-SL-120W-5BAR | 120W 5-BAR | Type: 5-BAR ¦ Battery: 3.2V 360WH ¦ Backup: >12-20Hrs ¦ Pole: 6-8M ¦ Lumens: 12000lm ¦ Best for: Estates, Schools | Complete |  | No | Link present: real or stock to confirm | 8-120W_5-BAR | https://res.cloudinary.com/x5utb1ld/image/upload/v1792758021/8-120W_5-BAR.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 8
P-008 | Solar Lighting | Street Lights | 150W Solar Street Light, 14-Eye | Complete | 150w-solar-street-light-14-eye | Final | KG-SL-150W | 150W 14-eye | Type: 14-Eye ¦ Battery: 3.2V 480WH ¦ Backup: >12-20Hrs ¦ Pole: 8-10M ¦ Lumens: 15000lm ¦ Best for: Highways | Complete |  | No | Link present: real or stock to confirm | 9-150W_14-eye | https://res.cloudinary.com/x5utb1ld/image/upload/v1792758125/9-150W_14-eye.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 9
P-009 | Solar Lighting | Street Lights | 150W Solar Street Light, 5-Bar | Complete | 150w-solar-street-light-5-bar | Final | KG-SL-150W-5BAR | 150W 5-BAR | Type: 5-BAR ¦ Battery: 3.2V 480WH ¦ Backup: >12-20Hrs ¦ Pole: 8-10M ¦ Lumens: 15000lm ¦ Best for: Medium Projects | Complete |  | No | Link present: real or stock to confirm | 10-150W_5-BAR | https://res.cloudinary.com/x5utb1ld/image/upload/v1792751075/10-150W_5-BAR.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 10
P-010 | Solar Lighting | Street Lights | 150W Solar Street Light, 6-Bar | Complete | 150w-solar-street-light-6-bar | Final | KG-SL-150W-6BAR | 150W 6-BAR | Type: 6-BAR ¦ Battery: 3.2V 480WH ¦ Backup: >12-20Hrs ¦ Pole: 8-10M ¦ Lumens: 15000lm ¦ Best for: Large Compounds | Complete |  | No | Real (confirmed by client) | 11-150W_6-BAR | https://res.cloudinary.com/x5utb1ld/image/upload/v1792750941/11-150W_6-BAR.webp | 2 | n/a | Solar_Product_List_18_Items_1.docx, row 11
P-011 | Solar Lighting | Street Lights | 180W Solar Street Light, 6-Bar | Complete | 180w-solar-street-light-6-bar | Final | KG-SL-180W-6BAR | 180W 6-BAR | Type: 6-BAR ¦ Battery: 3.2V 576WH ¦ Backup: >12-20Hrs ¦ Pole: 8-10M ¦ Lumens: 18000lm ¦ Best for: Govt Highway | Complete |  | No | Link present: real or stock to confirm | 12-180W_6-BAR | https://res.cloudinary.com/x5utb1ld/image/upload/v1792751652/12-180W_6-BAR.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 12
P-012 | Solar Lighting | Street Lights | 200W Solar Street Light, 16-Eye | Complete | 200w-solar-street-light-16-eye | Final | KG-SL-200W | 200W 16-eye | Type: 16-Eye ¦ Battery: 3.2V 520WH ¦ Backup: >12-20Hrs ¦ Pole: 8-10M ¦ Lumens: 20000lm ¦ Best for: Govt Projects | Complete |  | No | Real (confirmed by client) | 13-200W_16-eye | https://res.cloudinary.com/x5utb1ld/image/upload/v1792751740/13-200W_16-eye.webp | 3 | n/a | Solar_Product_List_18_Items_1.docx, row 13
P-013 | Solar Lighting | Street Lights | 200W Solar Street Light, 16-Eye D-Series | Complete | 200w-solar-street-light-16-eye-d-series | Final | KG-SL-200W-D | 200W 16-eye D SERIES | Type: 16-Eye D ¦ Battery: 3.2V 520WH ¦ Backup: >12-20Hrs ¦ Pole: 8-10M ¦ Lumens: 21000lm ¦ Best for: Premium Highways | Complete |  | No | Link present: real or stock to confirm | 14-200W_16-eye_D_SERIES | https://res.cloudinary.com/x5utb1ld/image/upload/v1792751849/14-200W_16-eye_D_SERIES.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 14
P-014 | Solar Lighting | Street Lights | 300W Solar Street Light, 20-Eye D-Series | Complete | 300w-solar-street-light-20-eye-d-series | Final | KG-SL-300W-D | 300W 20-eye D SERIES | Type: 20-Eye D ¦ Battery: 3.2V 700WH ¦ Backup: >12-20Hrs ¦ Pole: 10-12M ¦ Lumens: 24800lm ¦ Best for: Flagship D SERIES | Complete |  | No | Link present: real or stock to confirm | 15-300W_20-eye_D_SERIES | https://res.cloudinary.com/x5utb1ld/image/upload/v1792752080/15-300W_20-eye_D_SERIES.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 15
P-015 | Solar Lighting | Street Lights | 300W Solar Street Light, 20-Eye Flagship | Complete | 300w-solar-street-light-20-eye-flagship | Final | KG-SL-300W | 300W 20-eye FLAGSHIP | Type: 20-Eye Flag ¦ Battery: 3.2V 700WH ¦ Backup: >12-20Hrs ¦ Pole: 10-12M ¦ Lumens: 24800lm ¦ Best for: Strongest Flagship | Complete |  | No | Link present: real or stock to confirm | 16-300W_20-eye_FLAGSHIP | https://res.cloudinary.com/x5utb1ld/image/upload/v1792752374/16-300W_20-eye_FLAGSHIP.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 16
P-016 | Solar Lighting | Street Lights | 80W Solar Street Light, 4-Bar | Complete | 80w-solar-street-light-4-bar | Final | KG-SL-80W-4BAR | 80W 4-BAR | Type: 4-BAR ¦ Battery: 3.2V 320WH ¦ Backup: 15Hrs ¦ Pole: 6-8M ¦ Lumens: 8000lm ¦ Best for: Small Streets, Homes | Complete |  | No | Link present: real or stock to confirm | 17-80W_4-BAR | https://res.cloudinary.com/x5utb1ld/image/upload/v1792753507/17-80W_4-BAR.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 17
P-017 | Solar Lighting | Street Lights | 80W Solar Street Light, 8-Eye | Complete | 80w-solar-street-light-8-eye | Final | KG-SL-80W | 80W 8-eye | Type: 8-Eye ¦ Battery: 3.2V 320WH ¦ Backup: 15Hrs ¦ Pole: 6M ¦ Lumens: 8000lm ¦ Best for: Small Streets, Homes | Complete |  | No | Link present: real or stock to confirm | 18-80W_8-eye | https://res.cloudinary.com/x5utb1ld/image/upload/v1792753612/18-80W_8-eye.webp |  | n/a | Solar_Product_List_18_Items_1.docx, row 18
P-018 | CCTV & Security | Cameras | Indoor Dome CCTV Camera | Cut off in source: confirm full name | indoor-dome-cctv-camera | Provisional |  | CCTV Camera - Dome Indoor 2MP/5M | 2MP, 5MP, 1080P, IR 20m, Indoor Dome | Complete |  | No | Link present: real or stock to confirm | 1-CCTV_Camera_-_Dome_Indoor_2MP5M | https://res.cloudinary.com/x5utb1ld/image/upload/v1792666710/1-CCTV_Camera_-_Dome_Indoor_2MP5M.webp |  | n/a | CCTV_..._10_Items_1.docx (updated list), row 1 | Home tile candidate for CCTV (photo 810x810 px). Name cut off in the source ("2MP/5M").
P-019 | CCTV & Security | Camera + Lighting | AI Solar Camera with Lighting, 2-in-1 | Typo in source ("Lightening") fixed | ai-solar-camera-with-lighting-2-in-1 | Final |  | AI Solar Camera+Lightening 2-in-1 | Warm Full Color, 4k ULTRAHD, Wifi APP Remote, Solar Powered, Motion Humanoid Detection | Complete |  | No | Link present: real or stock to confirm | 2-AI-Solar-Camera-and-Lighting-2-in-1-Wam-Full-Color | https://res.cloudinary.com/x5utb1ld/image/upload/v1793017837/2-AI-Solar-Camera-and-Lighting-2-in-1-Wam-Full-Color.webp |  | Verify with supplier | CCTV_..._10_Items_1.docx (updated list), row 2 | Claims to verify: "Warm Full Color", "4K UltraHD", "Motion Humanoid Detection".
P-020 | CCTV & Security | Cameras | Solar 3PTZ CCTV Camera | Complete | solar-3ptz-cctv-camera | Final |  | Solar 3PTZ Camera | 20MP UltraHD, 4G LTE, E-SIM+ALL SIM, Solar Powered + Rechargeable Battery + Motion Detection, Night Vision. | Complete |  | No | Link present: real or stock to confirm | 3-Solar-3TPZ-Camera | https://res.cloudinary.com/x5utb1ld/image/upload/v1793018831/3-Solar-3TPZ-Camera.jpg |  | Verify with supplier | CCTV_..._10_Items_1.docx (updated list), row 3 | Claims to verify with the supplier: "20MP UltraHD", "4G LTE", "E-SIM + all SIM". Source file name says "3TPZ". Confirm the model name ("3PTZ").
P-021 | CCTV & Security | Camera + Lighting | AI Solar Camera with Lighting, 2-in-1 with 3 Video Channels | Typo in source ("Lightening") fixed | ai-solar-camera-with-lighting-2-in-1-with-3-video-channels | Final |  | AI Solar Camera+Lightening 2-in-1 + 3 Video Channel | 4K Ultra HD, 3 Video Channel, App Remote Viewing, Solar Powered | Complete |  | No | Link present: real or stock to confirm | 4-AI-Solar-Camera-and-Lighting-2-in-1-3Video-Channel | https://res.cloudinary.com/x5utb1ld/image/upload/v1793019016/4-AI-Solar-Camera-and-Lighting-2-in-1-3Video-Channel.jpg |  | Verify with supplier | CCTV_..._10_Items_1.docx (updated list), row 4 | Claims to verify: "4K Ultra HD", "3 Video Channel".
P-022 | CCTV & Security | Camera + Lighting | Solar CCTV Camera with Floodlight, All-in-One | Complete | solar-cctv-camera-with-floodlight-all-in-one | Final |  | Solar CCTV + Floodlight - All-in-One | Solar Panel + Battery + 100W Floodlight | Complete |  | No | Link present: real or stock to confirm | 5-Solar_CCTV_Floodlight_-_All-in-One | https://res.cloudinary.com/x5utb1ld/image/upload/v1792667485/5-Solar_CCTV_Floodlight_-_All-in-One.webp |  | n/a | CCTV_..._10_Items_1.docx (updated list), row 5
P-023 | CCTV & Security | Camera + Lighting | CCTV Floodlight with Dummy Camera | Complete | cctv-floodlight-with-dummy-camera | Final |  | CCTV Floodlight - Dummy Camera | 100W-200W Floodlight + Fake CCTV Dome | Complete |  | No | Link present: real or stock to confirm | 6-CCTV_Floodlight_-_Dummy_Camera | https://res.cloudinary.com/x5utb1ld/image/upload/v1792668567/6-CCTV_Floodlight_-_Dummy_Camera.webp |  | n/a | CCTV_..._10_Items_1.docx (updated list), row 6 | Photo shows a solar-panel floodlight with a camera, not a dummy camera. Check photos 5 and 6 are not swapped.
P-024 | CCTV & Security | Recorders & Accessories | CCTV DVR / NVR Recorder | Cut off in source: confirm full name | cctv-dvr-nvr-recorder | Provisional |  | CCTV DVR / NVR Recorder - 4CH/8C | 4CH, 8CH, 16CH, 32CH - Supports 2MP-8MP, | Complete |  | No | Link present: real or stock to confirm | 7-CCTV_DVR_NVR_Recorder_-_4CH8C | https://res.cloudinary.com/x5utb1ld/image/upload/v1792668767/7-CCTV_DVR_NVR_Recorder_-_4CH8C.webp |  | n/a | CCTV_..._10_Items_1.docx (updated list), row 7 | Name cut off after "4CH/8C".
P-025 | Electrical Supplies | Cables & Wiring | PVC Single-Core Copper Wire | Complete | pvc-single-core-copper-wire | Final |  | PVC Single Copper Wire | 1mm, 1.5mm, 2.5mm, 4mm, 6mm, 10mm, 16mm | Complete |  | Likely | Real (confirmed by client) | 1-PVC_Single_Copper_Wire | https://res.cloudinary.com/x5utb1ld/image/upload/v1792639714/1-PVC_Single_Copper_Wire.webp | 5 | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 1
P-026 | Electrical Supplies | Cables & Wiring | PVC Surface Wiring Cable | Complete | pvc-surface-wiring-cable | Final |  | PVC Surface Wiring Cables | 1.5mm, 2.5mm, 4mm, 6mm – Twin & Earth | Complete |  | Likely | Link present: real or stock to confirm | 2-PVC_Single_Copper_Wire | https://res.cloudinary.com/x5utb1ld/image/upload/v1792639974/2-PVC_Single_Copper_Wire.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 2
P-027 | Electrical Supplies | Cables & Wiring | Flexible Cable | Complete | flexible-cable | Final |  | Flexible Cables – All Sizes | 0.75mm, 1mm, 1.5mm, 2.5mm, 4mm, 6mm, 10mm ¦ 2 | Possibly cut off |  | Likely | Link present: real or stock to confirm | 3-Flexible_Cables_All_Sizes | https://res.cloudinary.com/x5utb1ld/image/upload/v1792640243/3-Flexible_Cables_All_Sizes.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 3
P-028 | Electrical Supplies | Lighting & Fans | LED Bulb | Complete | led-bulb | Final |  | LED Bulbs All Wattage | 3W, 5W, 7W, 9W, 12W, 15W, 20W, 30W, 50W – E27 | Possibly cut off |  | Likely | Real (confirmed by client) | 4-LED_Bulbs_All_Wattage | https://res.cloudinary.com/x5utb1ld/image/upload/v1792640564/4-LED_Bulbs_All_Wattage.webp | 6 | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 4
P-029 | Electrical Supplies | Switches, Sockets & Conduit | Wall Switch and Socket | Complete | wall-switch-and-socket | Final |  | Wall Switches and Sockets | 1Gang, 2Gang, 3Gang, 4Gang – 13A Sockets | Complete |  | Likely | Real (confirmed by client) | 5-Wall_Switches_and_Sockets | https://res.cloudinary.com/x5utb1ld/image/upload/v1792641083/5-Wall_Switches_and_Sockets.webp | 4 | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 5
P-030 | Electrical Supplies | Switches, Sockets & Conduit | PVC and Iron Electrical Box | Complete | pvc-and-iron-electrical-box | Final |  | PVC / Iron Boxes – All Types | 1Gang Box, 2Gang Box, 3Gang Box, 4Gang Box ¦ | Possibly cut off |  | Likely | Link present: real or stock to confirm | 6-PVC_and_Iron_Boxes_All_Types | https://res.cloudinary.com/x5utb1ld/image/upload/v1792641508/6-PVC_and_Iron_Boxes_All_Types.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 6
P-031 | Electrical Supplies | Distribution & Protection | Single-Phase Distribution Board | Complete | single-phase-distribution-board | Final |  | Distribution Single Board | 4Way, 6Way, 8Way, 12Way, 16Way, 24Way – Singl | Possibly cut off |  | Likely | Link present: real or stock to confirm | 7-Distribution_Single_Board | https://res.cloudinary.com/x5utb1ld/image/upload/v1792642354/7-Distribution_Single_Board.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 7
P-032 | Electrical Supplies | Distribution & Protection | MCB Circuit Breaker | Complete | mcb-circuit-breaker | Final |  | MCB Breakers Single Pole | 6A, 10A, 16A, 20A, 32A, 63A, 100A – 1P,2P,3P, | Possibly cut off |  | Likely | Link present: real or stock to confirm | 8-MCB_Breakers_Single_Pole | https://res.cloudinary.com/x5utb1ld/image/upload/v1792643536/8-MCB_Breakers_Single_Pole.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 8 | Name says "Single Pole" but the spec lists 1P, 2P and 3P. Confirm the true range.
P-033 | Electrical Supplies | Distribution & Protection | Switchgear | Complete | switchgear | Final |  | Switch Gears | Isolators, Contactors, MCCB, RCCB, Changeover | Possibly cut off |  | Likely | Link present: real or stock to confirm | 9-Switch_Gears | https://res.cloudinary.com/x5utb1ld/image/upload/v1792644288/9-Switch_Gears.jpg |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 9
P-034 | Electrical Supplies | Distribution & Protection | Changeover Switch, Manual and Automatic | Complete | changeover-switch-manual-and-automatic | Final |  | Change Over Switch Manual and Automatic | 63A, 100A, 200A, 400A, 630A, 1250A – 1P to 4P | Possibly cut off |  | Likely | Link present: real or stock to confirm | 10-Change_Over_Switch_Manual_and_Automatic | https://res.cloudinary.com/x5utb1ld/image/upload/v1792644633/10-Change_Over_Switch_Manual_and_Automatic.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 10
P-035 | Electrical Supplies | Switches, Sockets & Conduit | Conduit Pipe and Trunking | Complete | conduit-pipe-and-trunking | Final |  | Conduit Pipes and Trunking | 16mm, 20mm, 25mm, 32mm, 38mm, 50mm – PVC & Me | Possibly cut off |  | Likely | Link present: real or stock to confirm | 11-Conduit_Pipes_and_Trunking | https://res.cloudinary.com/x5utb1ld/image/upload/v1792645021/11-Conduit_Pipes_and_Trunking.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 11
P-036 | Electrical Supplies | Lighting & Fans | Ceiling Fan and Standing Fan | Complete | ceiling-fan-and-standing-fan | Final |  | Ceiling Fans and Standing Fans | 56" Ceiling, 16", 18", 20" Standing – Energy | Possibly cut off |  | Likely | Link present: real or stock to confirm | 12-Ceiling_Fans_and_Standing_Fans | https://res.cloudinary.com/x5utb1ld/image/upload/v1792645740/12-Ceiling_Fans_and_Standing_Fans.jpg |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 12
P-037 | Electrical Supplies | Power Backup & Protection | Voltage Stabilizer and UPS | Complete | voltage-stabilizer-and-ups | Final |  | Stabilizers and UPS | 500VA, 1000VA, 2KVA, 3KVA, 5KVA, 10KVA | Complete |  | Likely | Link present: real or stock to confirm | 13-Stabilizers_and_UPS | https://res.cloudinary.com/x5utb1ld/image/upload/v1792664590/13-Stabilizers_and_UPS.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 13
P-038 | Electrical Supplies | Switches, Sockets & Conduit | Power Socket and Extension | Complete | power-socket-and-extension | Final |  | Power Socket and Extensions | 2Gang, 3Gang, 4Gang, 5Gang, 6Gang – 3m, 5m, 1 | Possibly cut off |  | Likely | Link present: real or stock to confirm | 14-Power_Socket_and_Extensions | https://res.cloudinary.com/x5utb1ld/image/upload/v1792665062/14-Power_Socket_and_Extensions.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 14
P-039 | Electrical Supplies | Power Backup & Protection | TV, Fridge and AC Guard | Complete | tv-fridge-and-ac-guard | Final |  | TV / Fridge / AC Guards | 5A, 13A, 16A – Auto Reconnect, High Voltage C | Possibly cut off |  | Likely | Link present: real or stock to confirm | 15-TV_Fridge_AC_Guards | https://res.cloudinary.com/x5utb1ld/image/upload/v1792665262/15-TV_Fridge_AC_Guards.webp |  | n/a | Product_Price_List_15_Items_cable_and_wiring.docx, row 15
P-040 | Industrial Supply | Earthing & Lightning Protection | Pure Copper Earth Rod, Solid | Complete | pure-copper-earth-rod-solid | Final |  | Pure Copper Earth Rod - Solid | Dia 16mm, 20mm ¦ Length 1.2m, 1.5m, 2m | Possibly cut off | 99.9% Pure Copper, BS | Likely | Link present: real or stock to confirm | 1-Pure_Copper_Earth_Rod_-_Solid | https://res.cloudinary.com/x5utb1ld/image/upload/v1792671038/1-Pure_Copper_Earth_Rod_-_Solid.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 1
P-041 | Industrial Supply | Earthing & Lightning Protection | Copper Bonded Earth Rod | Cut off in source: confirm full name | copper-bonded-earth-rod | Provisional |  | Copper Bonded Earth Rod - Low | Dia 14.2mm, 17.2mm ¦ Length 1.2m, 1.5m | Possibly cut off | Copper Bonded Steel, U | Likely | Link present: real or stock to confirm | 2-Copper_Bonded_Earth_Rod_-_Low | https://res.cloudinary.com/x5utb1ld/image/upload/v1792687552/2-Copper_Bonded_Earth_Rod_-_Low.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 2
P-042 | Industrial Supply | Earthing & Lightning Protection | Bare Copper Earth Tape | Complete | bare-copper-earth-tape | Final |  | Bare Copper Earth Tape / Strip | 25x3mm, 25x4mm, 25x6mm, 50x3mm, 50x6mm | Possibly cut off | Bare Copper, 99.9% Cu, | Likely | Link present: real or stock to confirm | 3-Bare_Copper_Earth_Tape_and_Strip | https://res.cloudinary.com/x5utb1ld/image/upload/v1792687736/3-Bare_Copper_Earth_Tape_and_Strip.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 3
P-043 | Industrial Supply | Earthing & Lightning Protection | Bare Copper Earth Wire | Complete | bare-copper-earth-wire | Final |  | Bare Copper Earth Wire / Cable | 16mm², 25mm², 35mm², 50mm², 70mm², 95m | Possibly cut off | Bare Copper, Class 2, | Likely | Link present: real or stock to confirm | 4-Bare_Copper_Earth_Wire_and_Cable | https://res.cloudinary.com/x5utb1ld/image/upload/v1792688445/4-Bare_Copper_Earth_Wire_and_Cable.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 4
P-044 | Industrial Supply | Earthing & Lightning Protection | Insulated Copper Earth Cable | Complete | insulated-copper-earth-cable | Final |  | Insulated Copper Earth Cable | 16mm², 25mm², 35mm², 50mm², 70mm² - PV | Possibly cut off | PVC Insulated Copper, | Likely | Link present: real or stock to confirm | 5-Insulated_Copper_Earth_Cable | https://res.cloudinary.com/x5utb1ld/image/upload/v1792688615/5-Insulated_Copper_Earth_Cable.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 5
P-045 | Industrial Supply | Earthing & Lightning Protection | Heavy Copper Earth Rod Clamp | Cut off in source: confirm full name | heavy-copper-earth-rod-clamp | Provisional |  | Heavy Copper Earth Rod Clamp - | For Rod Dia 14mm-20mm ¦ Tape 25x3 to 5 | Possibly cut off | Gunmetal / Brass, High | No | Link present: real or stock to confirm | 6-Heavy-Copper_Earth_Rod_Clamp | https://res.cloudinary.com/x5utb1ld/image/upload/v1792688793/6-Heavy-Copper_Earth_Rod_Clamp.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 6 | Name ends with a dash in the source.
P-046 | Industrial Supply | Earthing & Lightning Protection | Copper Earth Tape Clamp | Complete | copper-earth-tape-clamp | Final |  | Copper Earth Tape Clamp / Tee | 25x3 to 50x6mm ¦ Tee Clamp, Cross Clam | Possibly cut off | Gunmetal / Brass, BS 9 | No | Link present: real or stock to confirm | 7-Copper_Earth_Tape_Clamp_and_Tee | https://res.cloudinary.com/x5utb1ld/image/upload/v1792691450/7-Copper_Earth_Tape_Clamp_and_Tee.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 7
P-047 | Industrial Supply | Earthing & Lightning Protection | Copper Earth Bar / Busbar | Cut off in source: confirm full name | copper-earth-bar-busbar | Provisional |  | Copper Earth Bar / Busbar + Di | 4Way, 6Way, 8Way, 12Way ¦ 25x6mm, 50x6 | Possibly cut off | Hard Drawn Copper, Dri | Likely | Link present: real or stock to confirm | 8-Copper_Earth_Bar_and_Busbar | https://res.cloudinary.com/x5utb1ld/image/upload/v1792691727/8-Copper_Earth_Bar_and_Busbar.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 8
P-048 | Industrial Supply | Earthing & Lightning Protection | Pure Copper Earth Plate | Complete | pure-copper-earth-plate | Final |  | Copper Earth Plate - Pure Copper | 300x300x3mm, 600x600x3mm, 600x600x6mm, | Possibly cut off | 99.9% Pure Copper Plat | Likely | Link present: real or stock to confirm | 9-Copper_Earth_Plate_-_Pure_Copper | https://res.cloudinary.com/x5utb1ld/image/upload/v1792691881/9-Copper_Earth_Plate_-_Pure_Copper.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 9
P-049 | Industrial Supply | Earthing & Lightning Protection | Earth Inspection Pit | Complete | earth-inspection-pit | Final |  | Earth Pit / Inspection Pit | Concrete, Polymer, HDPE - Square 300x3 | Possibly cut off | Concrete / Polymer Hea | Likely | Link present: real or stock to confirm | 10-Earth_Pit_and_Inspection_Pit | https://res.cloudinary.com/x5utb1ld/image/upload/v1792692169/10-Earth_Pit_and_Inspection_Pit.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 10
P-050 | Industrial Supply | Earthing & Lightning Protection | Earth Enhancement Compound (Bentonite / Marconite) | Cut off in source: confirm full name | earth-enhancement-compound-bentonite-marconite | Provisional |  | Bentonite Clay / Marconite / | 25kg Bag - Bentonite, Marconite, Furse | Possibly cut off | Low Resistivity <3 Ohm | Likely | Link present: real or stock to confirm | 11-Bentonite_Clay_and_Marconite | https://res.cloudinary.com/x5utb1ld/image/upload/v1792692482/11-Bentonite_Clay_and_Marconite.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 11 | Name cut off after "Marconite /".
P-051 | Industrial Supply | Earthing & Lightning Protection | Lightning Protection Air Rod, Copper | Cut off in source: confirm full name | lightning-protection-air-rod-copper | Provisional |  | Lightning Protection - Copper | Air Rod 1m, 2m, 3m ¦ Copper / Copper B | Possibly cut off | Pure Copper / Copper B | Likely | Link present: real or stock to confirm | 12-Lightning_Protection_-_Copper | https://res.cloudinary.com/x5utb1ld/image/upload/v1792692648/12-Lightning_Protection_-_Copper.webp |  | Unverified | Copper_Earthing_Materials_Datasheet_12_Items.docx, row 12
P-052 | Industrial Supply | PPE & Safety | Electrical Safety Helmet | Complete | electrical-safety-helmet | Final |  | Electrical Safety Helmet | With Chin Strap, Adj | Complete | ABS, 440V Insulate | No | Link present: real or stock to confirm | 1-Electrical_Safety_Helmet | https://res.cloudinary.com/x5utb1ld/image/upload/v1792722434/1-Electrical_Safety_Helmet.webp |  | Voltage rating verified by client (24 Oct 2026). Standards unverified | PPE_Safety_Product_List_12_Items.docx, row 1 | Home tile candidate for Industrial (photo 466x577 px, informal). Replace with a cleaner shot when available.
P-053 | Industrial Supply | PPE & Safety | Insulated Electrical Gloves | Cut off in source: confirm full name | insulated-electrical-gloves | Provisional |  | Insulated Electrical Gloves 1000 | Class 0, 1000V, Size | Complete | Natural Rubber, CE | Likely | Link present: real or stock to confirm | 2-Insulated_Electrical_Gloves_1000 | https://res.cloudinary.com/x5utb1ld/image/upload/v1792722692/2-Insulated_Electrical_Gloves_1000.webp |  | Voltage rating verified by client (24 Oct 2026). Standards unverified | PPE_Safety_Product_List_12_Items.docx, row 2 | Name cut off at "1000" (likely 1000V). Client states voltage ratings are verified.
P-054 | Industrial Supply | PPE & Safety | Steel Toe Leather Safety Boots | Complete | steel-toe-leather-safety-boots | Final |  | Safety Boots - Steel Toe Leather | Size 40-46, Anti-Sli | Complete | Leather, Steel Toe | No | Link present: real or stock to confirm | 3-Safety_Boots_-_Steel_Toe_Leather | https://res.cloudinary.com/x5utb1ld/image/upload/v1792723272/3-Safety_Boots_-_Steel_Toe_Leather.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 3
P-055 | Industrial Supply | PPE & Safety | PVC Rain Safety Boots | Complete | pvc-rain-safety-boots | Final |  | Safety Boots - PVC Rain Boot | Size 40-46, Knee Hei | Complete | PVC Waterproof, St | No | Link present: real or stock to confirm | 4-Safety_Boots_-_PVC_Rain_Boot | https://res.cloudinary.com/x5utb1ld/image/upload/v1792724145/4-Safety_Boots_-_PVC_Rain_Boot.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 4
P-056 | Industrial Supply | PPE & Safety | Anti-Fog Safety Goggles | Complete | anti-fog-safety-goggles | Final |  | Safety Goggles - Anti-Fog Clear | Anti-Scratch, Anti-Fog | Possibly cut off | Polycarbonate, EN1 | No | Link present: real or stock to confirm | 5-Safety_Goggles_-_Anti-Fog_Clear | https://res.cloudinary.com/x5utb1ld/image/upload/v1792724586/5-Safety_Goggles_-_Anti-Fog_Clear.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 5
P-057 | Industrial Supply | PPE & Safety | High-Visibility Safety Vest | Complete | high-visibility-safety-vest | Final |  | High Visibility Safety Vest | L-XXL, Reflective | Complete | Polyester 120gsm, | No | Link present: real or stock to confirm | 6-High_Visibility_Safety_Vest | https://res.cloudinary.com/x5utb1ld/image/upload/v1792725384/6-High_Visibility_Safety_Vest.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 6
P-058 | Industrial Supply | PPE & Safety | Electrical Coveralls | Cut off in source: confirm full name | electrical-coveralls | Provisional |  | Coveralls / Overall Suit - Elect | L-XXL, Long Sleeve, | Complete | 100% Cotton / Poly | Likely | Link present: real or stock to confirm | 7-Coveralls_Overall_Suit_-_Electrical | https://res.cloudinary.com/x5utb1ld/image/upload/v1792726151/7-Coveralls_Overall_Suit_-_Electrical.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 7
P-059 | Industrial Supply | PPE & Safety | Disposable Coveralls | Cut off in source: confirm full name | disposable-coveralls | Provisional |  | Coveralls - Disposable / Chem | L-XXL, Hooded, Elast | Complete | PP Non-Woven, Chem | Likely | Link present: real or stock to confirm | 8-Coveralls_-_Disposable_Chem | https://res.cloudinary.com/x5utb1ld/image/upload/v1792727097/8-Coveralls_-_Disposable_Chem.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 8
P-060 | Industrial Supply | PPE & Safety | Electrical Safety Harness | Complete | electrical-safety-harness | Final |  | Electrical Safety Harness / Belt | Full Body, 2 D-Rings | Complete | Polyester Webbing, | No | Link present: real or stock to confirm | 9-Electrical_Safety_Harness_Belt | https://res.cloudinary.com/x5utb1ld/image/upload/v1792727431/9-Electrical_Safety_Harness_Belt.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 9
P-061 | Industrial Supply | PPE & Safety | Ear Muffs and N95 Dust Mask Combo | Complete | ear-muffs-and-n95-dust-mask-combo | Final |  | Ear Muffs / Dust Mask N95 Combo | NRR 25-32dB + N95 Va | Complete | ABS Foam + Non-Wov | No | Link present: real or stock to confirm | 10-Ear_Muffs_Dust_Mask_N95_Combo | https://res.cloudinary.com/x5utb1ld/image/upload/v1792727954/10-Ear_Muffs_Dust_Mask_N95_Combo.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 10
P-062 | Industrial Supply | PPE & Safety | Cut-Resistant Safety Gloves | Cut off in source: confirm full name | cut-resistant-safety-gloves | Provisional |  | Safety Hand Gloves - Cut Resista | Cut Level 5, M-XXL | Complete | HPPE + Glass Fiber | No | Link present: real or stock to confirm | 11-Safety_Hand_Gloves_-_Cut_Resista | https://res.cloudinary.com/x5utb1ld/image/upload/v1792728203/11-Safety_Hand_Gloves_-_Cut_Resista.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 11
P-063 | Industrial Supply | PPE & Safety | First Aid Kit with Electrical Warning Tape | Typo in source ("Warniing") fixed | first-aid-kit-with-electrical-warning-tape | Final |  | First Aid Kit + Electrical Warniing | 50 Items + 100M Tape | Complete | Plastic Box + PVC | No | Link present: real or stock to confirm | 12-First_Aid_Kit_Electrical_Warniing | https://res.cloudinary.com/x5utb1ld/image/upload/v1792728340/12-First_Aid_Kit_Electrical_Warniing.webp |  | Unverified | PPE_Safety_Product_List_12_Items.docx, row 12 | Typo in source ("Warniing") fixed

## Excluded
Name as received | Model code | Reason
EXAM Solar 100W | KG-SL-100-AC | Demo / example row in the client sheet. Not a product. Do not publish.
CCTV Hard Disk (500GB to 4TB) |  | Not listed in the updated CCTV sheet. Client does not have it at the moment, so no photo. Can be added later as a content update.
CCTV Power Supply & Cable Kit |  | Not listed in the updated CCTV sheet. Client does not have it at the moment. Can be added later.
Smart Camera + Lighting, Indoor |  | Not listed in the updated CCTV sheet. Client does not have it at the moment. Can be added later.
CCTV Camera, Bullet Outdoor and Wireless WiFi/4G (earlier items 2 and 3) |  | Replaced in the updated sheet by the AI Solar Camera and Solar 3PTZ products.